## Title Sheet
Classification Category (Eg:- AIPL Confidential)
Scope of Disclosure | For <team name> team
Confidentiality Period | "Indefinitely"
Head of information owner section | PM - Building Management system(BMS)
Handling Restriction | "No Copying", "No Printing", "No transferring", "No re-disclosure", "No Circulation", "Do not duplicate"
| Revision: | 1
| Date: | 2023-07-24
Test Design and Report
Altiux Innovations(India) Pvt. Ltd

## Rev History
|  | Quality Management System | Version | 1
|  | Test Design and Report | Doc I.D | Altiux_AHU_Test_Cases_14092023.xlsx
|  |  | Revision Date | 2023-07-24
Document History
Revision No. | Date YYYY-MM-DD | Change Description |  | Author | Reviewed By | Approved By
1 | 2023-07-24 | Initial draft |  | Sandeep | Chetan | Sashi

## Introduction
Introduction
BMS systems are “Intelligent” microprocessor based controller networks. installed to monitor and control a buildings technical systems and services. such as air conditioning, ventilation, lighting and hydraulics.
Test objective
SCOPE :
BMS (Building Management System) is the most effective method to monitor and control energy usage within a building.
OUT OF SCOPE:
Test Stratergy Diagram :
Assumption and Dependencies
Definitions and Acronyms
| Acronym | Definition
| API | Application Programming Interface
| Rev Pi | Revolution PI
| T_Lora_Tx | Temperature Lora Transmitter
| T_Lora_Rx | Temperature Lora Receiver
| VFD | Variable Frequency Drive
Tested Work product details
| Work product |  | Version No.
VFD
Actuator
RTD Sensor
Lora Module
References
All the requriements are taken from Gitlab repository

## Test Report-IT1 (hidden)
<Unit / Integration / System>Test Report
Test Iteration Number : |  |  | 3rd Iteration
Test Plan Reference :
Test hardware and Software environment :
Constraints If any :
Deviations If any from SRS, SDS/HLD&LLD, Preceding documents :
Effort Spent on Conducting Testing (in Person Days) :
Effort spent on Preparation of Test Report/Review :
<<<
Test Case Results
Test Case ID & Name | Test Procedure
| Preconditions | Verification |  |  | Iteration 1 |  |  | Iteration 2 |  |  | Iteration 3 |  |  | Iteration 4 |  |  | Iteration 5
|  | Test Condition | Step with description | Expected Result | Actual Result <Pass - P Fail - F Not Executed - NE> | Severity | Remarks | Actual Result <Pass - P Fail - F Not Executed - NE> | Severity | Remarks | Actual Result <Pass - P Fail - F Not Executed - NE> | Severity | Remarks | Actual Result <Pass - P Fail - F Not Executed - NE> | Severity | Remarks | Actual Result <Pass - P Fail - F Not Executed - NE> | Severity | Remarks
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF!
Test Result Summary
Total Test Case Executed | 0
Toral Test Case passed | 0
Total Test Case Failed | 0
Total Test Case Not Executed | 0
Severity | Number of tests failed
Major | 0
Medium | 0
Minor | 0
#REF! | #REF!
Recommendations
Tested/ Prepared By: Name: Date:

## Unit Testing
Test Summary Results for Unit Testing
Sl. No. | Test Category | Test Cases |  |  |  |  | No of Defects | Test Effort (Person Hours) | Code Coverage |  | Size (KLOC) |  | Defect Density | Test Case Density
|  | Planned | Executed | Skipped | Passed | Failed |  |  | Planned % | Achieved %
1 | Functional | 40 | 40 | 0 | 37 | 3 | [6 empty] | 0 | 0
2 | Conformance | 0 | 0 | 0 | 0 | 0
3 | Performance | 0 | 0 | 0 | 0 | 0
4 | Interface | 0 | 0 | 0 | 0 | 0
5 | Stress | 0 | 0 | 0 | 0 | 0
6 | Others | 0 | 0 | 0 | 0 | 0
Total | 0 | 40 | 40 | 0 | 37 | 3 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
Test Case Details
Test Case ID | Test Category | Preconditions |  |  | Test Procedure | [5 empty] | Results |  |  | Remarks
[5 empty] | Test Data (Inputs) | Test Condition |  | Steps with description |  |  | Expected Result | Actual Result | Pass / Fail / Not Executed
Altiux_EMS_TC_ID_01 | Functional | Valid URL test data link for login page http://3.237.31.20:3000/login |  |  | Enter the valid username:444452 Enter the valid Password:hyd@ems@2021 | Valid login credentials |  | Step1:Open the Ems application login page Step2:Enter the valid username in the username field. Step3:Enter the valid password in the password field. Step4:Click on the "Login" button. Step5:EMS application is successfully logined. |  |  | The user should be successfully logged into the EMS dashboard. | User successfully logined EMS application. | PASS
Altiux_EMS_TC_ID_02 | Functional | Valid URL test data link for login page http://3.237.31.20:3000/login |  |  | Enter the valid username:444452 Enter the invalid password:hydems@2022 | Verify the behahavior when providing an valid username and invalid Password |  | Step1:Open the Ems application login page Step2:Enter the valid username in the username field. Step3:Enter the invalid password in the password field. Step4:Click on the "Login" button. Step5:Displays the error message username or password is incorrect |  |  | An error message should be displayed indicating invalid credentials. | Displayed error messege correctly | PASS
Altiux_EMS_TC_ID_03 | Functional | Valid URL test data link for login page http://3.237.31.20:3000/login |  |  | Enter the invalid username:444452 Enter the valid password:hyd@ems@2023 | Verify the behahavior when providing an invalid username and valid Password |  | Step1:Open the Ems application login page Step2:Enter the invalid username in the username field. Step3:Enter the valid password in the password field. Step4:Click on the "Login" button. Step5:Displays the error message username or password is incorrect |  |  | An error message should be displayed indicating invalid credentials. | Displayed error messege correctly | PASS
Altiux_EMS_TC_ID_04 | Functional | Valid URL test data link for login page http://3.237.31.20:3000/login |  |  | Enter the empty username: Enter the valid password:hyd@ems@2024 | Verify the behahavior when providing an Empty or blank username on username field |  | Step1:Open the Ems application login page Step2:Enter the empty username in the username field. Step3:Enter the valid password in the password field. Step4:Click on the "Login" button. Step5:Displays the error message username or password is incorrect |  |  | An error message should be displayed indicating invalid credentials. | Displayed error messege correctly | PASS
Altiux_EMS_TC_ID_05 | Functional | Valid URL test data link for login page http://3.237.31.20:3000/login |  |  | Enter the valid username:444452 Enter the empty password: | Verify the behahavior when providing an Empty or blank password on password field |  | Step1:Open the Ems application login page Step2:Enter the valid username in the username field. Step3:Enter the empty password in the password field. Step4:Click on the "Login" button. Step5:Displays the error message username or password is incorrect |  |  | An error message should be displayed indicating invalid credentials. | Displayed error messege correctly | PASS
Altiux_EMS_TC_ID_06 | Functional | The user is logged into the EMS application and is on the dashboard. |  |  | Enter the valid username:444452 Enter the valid Password:hyd@ems@2021 | Verifying the dashboard displays the correct information or not |  |  | Step1:Open the Ems application login page Step2:Enter the valid username in the username field. Step3:Enter the valid password in the password field. Step4:Click on the Login button. Step5:Displays the dashboard page. In that dashboard, we have a total device count, active device count, and inactive device count visualised in a card. Step6:Displays the alarms list also. Step7:In the dashboard, we have the hamburger menu button,the device dropdown button, and the model page. Step8:Observe the netwok id and notification button,profile information, and logout application located on the top right corner of the dashboard page. |  | After successful login, the application should display a dashboard page with relevant information. | EMS application dashboard displayed correct information | PASS
Altiux_EMS_TC_ID_07 | Functional | The user is logged into the EMS application and is on the dashboard. |  |  | Enter the valid username:444452 Enter the valid Password:hyd@ems@2022 | Verifying whether the total device count is displayed or not under the dashboard page |  |  | Step1:Open the EMS application dashboard page. Step2:From the dashboard, check the total device count displayed or not. Step3:Total devices count is equal to the active devices and inactive devices count |  | Total devices count displayed correctly. | Total devices count displayed correctly. | PASS
Altiux_EMS_TC_ID_08 | Functional | The user is logged into the EMS application and is on the dashboard. |  |  | N/A | Verifying whether the active devices count is displayed or not under the dashboard page |  |  | Step1:Open the EMS application dashboard page. Step2:From the dashboard, check the active devices count displayed or not. Step3:Active devices count is equal to the total devices count substracting to the inactice devices count -->Active devices count = Total device count - Inactive devices count |  | Active devices count displayed correctly. | Active devices count displayed correctly. | PASS
Altiux_EMS_TC_ID_09 | Functional | The user is logged into the EMS application and is on the dashboard. |  |  | N/A | Verifying whether the inactive devices count is displayed or not under the dashboard page |  |  | Step1:Open the EMS application dashboard page. Step2:From the dashboard, check the inactive devices count displayed or not. Step3:Inactive devices count is equal to the total devices count substracting to the actice devices count -->Inactive devices count = Total device count - active devices count |  | Inactive devices count displayed correctly. | Inactive devices count displayed correctly. | PASS
Altiux_EMS_TC_ID_10 | Functional | The user is logged into the EMS application and is on the dashboard. |  |  | N/A | Verifying whether the network ID is displayed or not under the dashboard page |  |  | Step1:Open the EMS application dashboard page. Step2From the dashboard page, check the top right-corner side network ID displayed. |  | Network ID displayed correctly | Network ID displayed correctly | PASS
Altiux_EMS_TC_ID_11 | Functional | The user is logged into the EMS application and is on the dashboard. |  |  | N/A | Verifying whether the Alarm's list is displayed or not under the dashboard page |  |  | Step1:Open the EMS application dashboard page. Step2From the dashboard page, -->Verifying the all alarm's list will be displayed on dashboard page |  | Successfully displayed alarm's list on dashboard page | Alarm list present is showing zero | PASS
Altiux_EMS_TC_ID_12 | Functional | The user is logged into the EMS application and is on the dashboard. |  |  | N/A | Verifying the user profile button under the dashboard page |  |  | Step1:Open the Ems application login page Step2:Enter the valid username in the username field. Step3:Enter the empty password in the password field. Step4:Click on the Login button. Step5:Displays the dashboard page. Step6:Click on the User profile button. Step7:Displays user information like network id, first name, last name, email id, and phone number. |  | The user information displays correctly. | User information displayed correctly | PASS
Altiux_EMS_TC_ID_13 | Functional | The user is logged into the EMS application and is on the dashboard. |  |  | N/A | Verifying whether the profile details are editable or not |  |  | Step1:Open the EMS application dashboard page. Step2:From the dashboard, click on the profile icon. Step3:We have to see the profile details, like firstname, lastname, email, etc.. |  | The user changed the profile details successfully. | Profile details are not editable | FAIL
Altiux_EMS_TC_ID_14 | Functional | The user is logged into the EMS application and is on the dashboard. |  |  | N/A | Verifying the type of device list |  | Step1:Open the EMS application dashboard page. Step2:From the dashboard, locate and click on the devices option in the navigation menu. Step3:Click on the types button, it will shows the type list page. Step4:Displays the sno, type name and action |  |  | The user should see a type list along with their respective device information. | Type list displayed correctly | PASS
Altiux_EMS_TC_ID_15 | Functional | The user is logged into the EMS application and is on the dashboard. |  |  | N/A | Verify creating a new device under the type list page. |  | Step1:Open the EMS application dashboard page. Step2:From the dashboard, locate and click on the devices option in the navigation menu. Step3:Click on types option, open the type list page. Step4:Click on Create new device type button. Step5:Fill all the details of the new type device name,description,meta data Step6:Click on create button, successfully created new device under the type device list. |  |  | After clicking the create button, you should see a success message indicating that the new type of device has been created. | Type of devices created successfully | PASS
Altiux_EMS_TC_ID_16 | Functional | The user is logged into the EMS application and is on the dashboard. |  |  | N/A | Verifying to view the button shows the name, description, and meta data. |  | Step1:Open the EMS application dashboard page. Step2:From the dashboard, locate and click on the devices option in the navigation menu. Step3:Click on the types button, it will shows the type list page. Step4:Displays the sno, type name and action. Step5:In action, we have a view button. If you click on the view button, it will reflect on the view type page. step6:The view type page shows the name, description, and meta data. |  |  | The application should open a new page displaying the detailed parameters of the selected type details. | View option on selected device will be given meta data information correctly. | PASS
Altiux_EMS_TC_ID_17 | Functional | The user is logged into the EMS application and is on the dashboard. |  |  | N/A | Verifying to edit the button shows the name, description, and meta data. |  | Step1:Open the EMS application dashboard page. Step2:From the dashboard, locate and click on the devices option in the navigation menu. Step3:Click on the types button, it will shows the type list page. Step4:Displays the sno, type name and action. Step5:In action, we have a edit button. If you click on the edit button, it will reflect on the edit type page. step6:On that edit type page, we have edit the description and meta data. Step7:Click on update button. |  |  | Device type is updated successfully. | Update meta data also working correctly. | PASS
Altiux_EMS_TC_ID_18 | Functional | The user is logged into the EMS application and is on the dashboard. |  |  | N/A | Verifying the delete a device under the type list |  | Step1:Open the EMS application dashboard page. Step2:From the dashboard, locate and click on the devices option in the navigation menu. Step3:Click on the types button, it will shows the type list page. Step4:Displays the sno, type name and action. Step5:In action, we have a delete button. If you click on the delete button, it will deleted the type device. |  |  | Device type is deleted successfully. | Device type deleted successfully | PASS
Altiux_EMS_TC_ID_19 | Functional | The user is logged into the EMS application and is on the dashboard. |  |  | N/A | Verifying whether the dropdown button is working or not under the type list page |  | Step1:Open the EMS application dashboard page. Step2:From the dashboard, locate and click on the devices option in the navigation menu. Step3:Click on types option, open the types list page. Step4:Observe the dropdown button located on the top left corner of the type list page. Step5:Click on the dropdown button. |  |  | The dropdown button should be placed correctly and aligned properly. | Dropdown button is working properly. | PASS
Altiux_EMS_TC_ID_20 | Functional | The user is logged into the EMS application and is on the dashboard. |  |  | N/A | Verifying whether the search functionality is working or not under the type list page |  |  | Step1:Open the EMS application dashboard page. Step2:From the dashboard, locate and click on the devices option in the navigation menu. Step3:Click on types option, open the types list page. Step4:Enter the any type of device list in search box. Step5:Selected type device should be filtered, --> means search funtionality is working fine. Step6:Otherwise search functionality not working properly. |  | Search functionality is working correctly. Display the selected device type. | Search box is working properly. | PASS
Altiux_EMS_TC_ID_21 | Functional | The user is logged into the EMS application and is on the dashboard. |  |  | N/A | Verifying whether the list of devices displayed or not |  |  | Step1:Open the EMS application dashboard page. Step2:From the dashboard, locate and click on the devices option in the navigation menu. Step3:Click on list attribute -->It will shows the devices list |  | Successfully displayed list of devices information | All devices list displayed correctly. | PASS
Altiux_EMS_TC_ID_22 | Functional | The user is logged into the EMS application and is on the dashboard. |  |  | Device Id Device Name Device Type Device Model | Verifying new device creation under the device list page |  | Step1:Open the EMS application dashboard page. Step2:From the dashboard, locate and click on the devices option in the navigation menu. Step3:click on list option, open the devices list page. Step4:Click on Create new device button. Step5:Fill all the details of the new device like device id,type,name,etc Step6:Click on create button, successfully created new device under the device list. |  |  | After clicking create the application should displays a success message indicating that the new device has been created. | Successfully created new device under the list attribute. | PASS
Altiux_EMS_TC_ID_23 | Functional | The user is logged into the EMS application and is on the dashboard. |  |  | Search any device names | Verifying whether the search function is working or not under the devices list page |  | Step1:Open the EMS application dashboard page. Step2:From the dashboard, locate and click on the devices option in the navigation menu. Step3:click on list option, open the devices list page. Step4:Observe the search input box located on the top right corner of the list page. Step5:In the search input box ,enter the any device name press enter. |  |  | Successfully application filters the devices list to show only the particular device. | Search box is working properly. | PASS
Altiux_EMS_TC_ID_24 | Functional | The user is logged into the EMS application and is on the dashboard. |  |  | N/A | Verifying whether the click-on view option of selected device properties is displayed or not |  |  | Step1:Open the EMS application dashboard page. Step2:From the dashboard, locate and click on the devices option in the navigation menu. Step3:Click on list attribute. -->It will shows the devices list. Step4:Click on view option on any device. -->It will shows the selected device properties are displayed. |  | View option working properly and displayed parameters of the selected device. | View option on select any device, it will gives all parameters list. | PASS
Altiux_EMS_TC_ID_25 | Functional | The user is logged into the EMS application and is on the dashboard. |  |  | N/A | Modifying the device information like device name and device id, type of the device under the list option. |  | Step1:Open the EMS application dashboard page. Step2:From the dashboard, locate and click on the devices option in the navigation menu. Step3:Select a device from the list of devices displayed on the list of the devices page. Step4:If you select AHU Chairman sir side device under action you have to change the device name,device type,etc.. Step5:Click on save button. step6:It displays the changed device information see the under list option. |  |  | Successfully changed device information under the list option in the action button. | Successfully changed device parameter under the list | PASS
Altiux_EMS_TC_ID_26 | Functional | The user is logged into the EMS application and is on the dashboard. |  |  | N/A | Verifying the delete a device under the list option |  | Step1:Open the EMS application dashboard page. Step2:From the dashboard, locate and click on the devices option in the navigation menu. Step3:Select a device from the list of devices displayed on the list of devices page. Step4:If you want to delete the particular device From the list of available actions, choose delete device. Step5:Displays the Successfuly deleted device under list option. |  |  | Validate the successfully deleted device under the list option. | Selected device successfully deleted. | PASS
Altiux_EMS_TC_ID_27 | Functional | The user is logged into the EMS application and is on the dashboard. |  |  | N/A | Verifying whether the dropdown button is working or not under the device list page |  |  | Step1:Open the EMS application dashboard page. Step2:From the dashboard, locate and click on the devices option in the navigation menu. Step3:click on list option, open the devices list page. Step4:Observe the dropdown button located on the top left corner of the device list page. Step5:Click on the dropdown button. |  | The dropdown button should be placed correctly and aligned properly. | Dropdown button is working properly. | PASS
Altiux_EMS_TC_ID_28 | Functional | The user is logged into the EMS application and is on the dashboard. |  |  | N/A | Verifying whether the device properties are displayed or not |  | Step1:Open the EMS application dashboard page. Step2:From the dashboard, locate and click on the devices option in the navigation menu. Step3:Click on list attribute -->It will shows the devices list |  |  | Correctly displayed device property information | Correctly displayed device property information | PASS
Altiux_EMS_TC_ID_29 | Functional | The user is logged into the EMS application and is on the dashboard. |  |  | N/A | Verifying the device properties of the device property attribute |  | Step1:Open the EMS application dashboard page. Step2:From the dashboard, locate and click on the devices option in the navigation menu. Step3:Click on property option, opened the device property page. Step4:In dropdown button select any device. Step5:It displays the all parameter of the device. |  |  | The user should see a device property page along with their respective device information. | Dropdown button is working properly. | PASS
Altiux_EMS_TC_ID_30 | Functional | The user is logged into the EMS application and is on the dashboard. |  |  | N/A | Verifying whether the refresh button is working or not under the device property page |  | Step1:Open the EMS application dashboard page. Step2:From the dashboard, locate and click on the devices option in the navigation menu. Step3:Click on property option, opened the device property new page. Step4:Click on the dropdown button and select one device. Step5:It displays the all parameters of the particular device. Step6:Updated data is not coming. Click the refresh button to see the updated data. |  |  | The refresh button should be working correctly and aligned properly. | Refresh button is working properly, but present time not updated | FAIL
Altiux_EMS_TC_ID_31 | Functional | The user is logged into the EMS application and is on the dashboard. |  |  | N/A | Verifying whether the update button is working or not under the device property page |  | Step1:Open the EMS application dashboard page. Step2:From the dashboard, locate and click on the devices option in the navigation menu. Step3:Click on property option, opened the device property page. Step4:Click on the dropdown button and select one device. Step5:It displays the all parameters of the particular device. Step6:If I modify the particular parameter value. When you click the update button, the parameter value will be updated. Step7:Displays the notification is comming update parameter command sent to device. |  |  | The update button should be working correctly and aligned properly. | Button is clicking but not updated data | FAIL
Altiux_EMS_TC_ID_32 | Functional | The user is logged into the EMS application and is on the dashboard. |  |  | N/A | Verifying the device properties of the history attributes |  | Step1:Open the EMS application dashboard page. Step2:From the dashboard, locate and click on the devices option in the navigation menu. Step3:Click on history option, opened the device history page will appear. Step4:Click on the first dropdown button and select any one device. Step5:Click on the second dropdown button and select the anyone parameter ofthe seleted device. Step6:Click on the from date and To date filter. Step7:Click on the get history button. Step8:Finally displays history graph. |  |  | Successfully coming history graph from the selected device parameter. | Successfully coming history graph based on selected device parameter. | PASS
Altiux_EMS_TC_ID_33 | Functional | The user is logged into the EMS application and is on the dashboard. |  |  | N/A | Verifying the View Live Data attribute is working or not |  | Step1:Open the EMS application dashboard page. Step2:From the dashboard, locate and click on the devices option in the navigation menu. Step3:Clicking on the View Live Data attribute it will shows the devices live data page. Step4:Click on the any device radio button. Step5:Click on any checkbox properties based on device selection. Step6:Based on the selection, it will give live data correctly. |  |  | The page should give the correct live data that is coming correctly. | The page should give the correct live data that is coming correctly. | PASS
Altiux_EMS_TC_ID_34 | Functional | The user is logged into the EMS application and is on the dashboard. |  |  | N/A | Verifying the device properties of the Multiple Live Data attribute |  | Step1:Open the EMS application dashboard page. Step2:From the dashboard, locate and click on the devices option in the navigation menu. Step3:Click on multiple live data option, opened the multiple live data page. Step4:Click on select device dropdown button select any device. Step5:Based on device selection, Click on any parameter under the select property dropdown button. Step6:Click on Get data button. step7:Display the live data for the selected parameters. |  |  | The application should compare multiple device properties with live data that is coming.If any one field is not selected, it will trigger appropriate error messages. | The application should compare multiple device properties with live data that is coming | PASS
Altiux_EMS_TC_ID_35 | Functional | The user is logged into the EMS application and is on the dashboard. |  |  | N/A | Verifying the device properties of the compare multi data attribute |  | Step1:Open the EMS application dashboard page. Step2:From the dashboard, locate and click on the devices option in the navigation menu. Step3:Click on compare multi data option, opened the compare multiple live data page. Step4:Click on select device dropdown button select any device. Step5:Based on device selection, Click on select multiple parameter under the select property dropdown button. Step6:Again select another device and property Step6:Now get the Compare button,reset button. Step7:Click on the compare button to compare live data based on selection properties. Step8:Displays the comparing chart based selection device and properties. |  |  | These page should give the correct comparison of multiple devices property data in graph representation that is coming correctly. | Compare multi data select any devices properties based on property graph is generated correctly. | PASS
Altiux_EMS_TC_ID_36 | Functional | The user is logged into the EMS application and is on the dashboard. |  |  | N/A | Verifying the device properties of the compare live data attribute |  | Step1:Open the EMS application dashboard page. Step2:From the dashboard, locate and click on the devices option in the navigation menu. Step3:Clicking on the View Live Data attribute it will shows the devices live data page. Step4:Click on the any device Checkbox button. Step5:Click on any radio button properties based on device selection. Step6:Based on the selection, it will present the chart representation of the live data. |  |  | The page should give the correct live data in graph representation that is coming correctly. | Compare live data working properly. | PASS
Altiux_EMS_TC_ID_37 | Functional | The user is logged into the EMS application and is on the dashboard. |  |  | N/A | Verifying whether the get model info button is working or not under the model detail page |  | Step1:Open the EMS application dashboard page. Step2:From the dashboard, click on the model button, which will show the model device page. Step3:Click on the select device type dropdown button and select any device type. Step4:Based on the device type selection, click on the select device model dropdown button. Step5:Click on get model info button. Step6:Leave any one field empty and click on the "Get model info" button. Step7:Displays the error message please select type and model fields. |  |  | The "Get Model Info" button should only retrieve the detailed model information.If any one field is not selected, it will trigger appropriate error messages. | Successfully displayed meta data information based on select device and model | PASS
Altiux_EMS_TC_ID_38 | Functional | The user is logged into the EMS application and is on the dashboard. |  |  | N/A | Verifying whether the update model info button is working or not under the model detail page |  | Step1:Open the EMS application dashboard page. Step2:From the dashboard, click on the model button, which will show the model device page. Step3:Click on the select device type dropdown button and select any device type. Step4:Based on the device type selection, click on the select device model dropdown button. Step5:Click on get model info button. Step6:It will provide selected device model information. Step7:If you want to update model information,Click on the Update model information button. Step8:Displays the update model info page. We can make changes on this page. Step9:Click on the Update Model Info button. Display the message successfully with updated model information. |  |  | The "Update Model Info" button should give updated model information. | Successfully upadted meta data based on select device type. | PASS
Altiux_EMS_TC_ID_39 | Functional | The user is logged into the EMS application and is on the dashboard. |  |  | N/A | Verifying whether the delete model info button is working or not under the model detail page |  | Step1:Open the EMS application dashboard page. Step2:From the dashboard, click on the model button, which will show the model device page. Step3:Click on the select device type dropdown button and select any device type. Step4:Based on the device type selection, click on the select device model dropdown button. Step5:Click on get model info button. Step6:It will provide selected device model information. Step7:If you want to delete model information,Click on the delete model information button. Step8:Selected device model was deleted successfully. |  |  | The "Delete Model Info" button should delete the model information. | Successfully deleted model information based selected device type. | PASS
Altiux_EMS_TC_ID_40 | Functional | The user is logged into the EMS application and is on the dashboard. |  |  | N/A | Verify creating a new model info under the model detail page. |  | Step1:Open the EMS application dashboard page. Step2:From the dashboard, click on the model button, which will show the model device page. Step3:Click on the Create new model info button. Step4:Fill all the details of the select device type in dropdown, and model name, model information. Step5:Click on create button. Step6:Displays the successfully added new model device. |  |  | Finally clicking the create button, you should see a success message indicating that the new model device has been created. | Successfully created new model | PASS
Note on H2: Mention Planned values if actuals are not available
Note on I2: Enter Planned Effort if actual effort details are not available. Only Test Execution effort to be considered.
Note on L2: Mention Planned values if actuals are not available
Note on N2: Mention Defect Density based on Planned Defects if actuals are not available
Note on O2: Mention Test Case Density based on Planned values if actuals are not available
Note on B17: Test Categories can be added or modified based on the requirement of project
Note on F18: Input data has to be documented in time secquence manner

## Integration Testing
Test Summary Results for Integration Testing
Sl. No. | Test Category | Test Cases |  |  |  |  | Number of Defects | Test Effort (Person Hours) | Code Coverage |  | Size (KLOC) |  | Defect Density | Test Case Density
|  | Planned | Executed | Skipped | Passed | Failed |  |  | Planned % | Achieved %
1 | Functional | 0 | 0 | 0 | 0 | 0 |  | 160 | Refer Metrics report | Refer Metrics report | Refer Metrics report |  | #VALUE! | #VALUE!
2 | Conformance | 0 | 0 | 0 | 0 | 0
3 | Performance | 0 | 0 | 0 | 0 | 0
4 | Interface | 0 | 0 | 0 | 0 | 0
5 | Stress | 0 | 0 | 0 | 0 | 0
6 | Others | 0 | 0 | 0 | 0 | 0
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 160 | Refer Metrics report | Refer Metrics report | Refer Metrics report |  | #VALUE! | #VALUE!
Test Case Details
Test Case ID | Test Category | Preconditions |  |  | Test Procedure | [5 empty] | Results |  |  | Remarks
[5 empty] | Test Data (Inputs) | Test Condition |  | Steps with description |  |  | Expected Result | Actual Result | Pass / Fail / Not Executed/On Hold
Note on H2: Mention Planned values if actuals are not available
Note on I2: Enter Planned Effort if actual effort details are not available. Only Test Execution effort to be considered.
Note on L2: Mention Planned values if actuals are not available
Note on N2: Mention Defect Density based on Planned Defects if actuals are not available
Note on O2: Mention Test Case Density based on Planned values if actuals are not available
Note on B17: Test Categories can be added or modified based on the requirement of project
Note on F18: Input data has to be documented in time secquence manner

## Defect-log
Sl. No. | Module / Function Name | Bugs / Issues | Test case ID | Testing type (UT, IT, ST, AT) | Defect Origin | Status | Severity | Defect Type | Correction | Defect Reported | Date of Closure | Remarks | Inadequate Skill Level
1 | EMS Application Dashboard page | Notification button is not working properly |  | UT | UT | Open | Medium | Function | Function | Internal |  | Home page notification button
2 | EMS Application Dashboard page | Profile details are not editable |  | UT | UT | Open | Major | Function | Function | Internal |  | Home page profile details not editable
3 | EMS Application Dashboard page | In profile details last name is showing Hyderabad |  | UT | UT | Open | Minor | Function | Function | Internal |  | Home page profile details The last name is showing wrong detail information.
4 | EMS Application Dashboard page | Alram lists every time showing no records found only.I think alrams are not received. |  | UT | UT | Open | Minor | Function | Function | Internal
5 | EMS Application Dashboard page | footer-level copyright and powered by clicking open the same altiux page |  | UT | UT | Open | Medium | Function | Function | Internal
| EMS Application Dashboard page | The logout function is not working properly,once closed the application should not logout. |  | UT | UT | Open | Major | Function | Function | Internal
6 | Under The Devices Section | All search functions are taking positive values,negative values and special characters |  | UT | UT | Open | Medium | Function | Function | Internal |  | All available search functions are taking all values.
7 | Under The Devices Section | All pages footer level buttons are not used First,Previous,1,2,Last, Next |  | UT | UT | Open | Minor | Function | Function | Internal |  | Footer level Buttons not useful because of we have dropdown button
8 | Under The Devices Section | when ever press the Refresh button, updated data showing 4 mins delay |  | UT | UT | Open | Minor | Function | Function | Internal
9 | Under The Devices Section | History page below dates data is not coming AHU Chairman side Air Speed 21.03.2023 08.06.2023 |  | UT | UT | Open | Medium | Function | Function | Internal
10 | Under The Devices Section | View live data page and compare live data two are same thing, the difference is view live data is showing data but comapare live data is showing graph reprasentation |  | UT | UT | Open | Minor | Function | Function | Internal
11 | Under The Devices Section | Multi live data page and compare multi data two are same thing, the difference is multi live data is showing multiple devices data but comapare live data is showing graph reprasentation |  | UT | UT | Open | Minor | Function | Function | Internal
12

## Guidelines
Guidelines: |  | DocumentType | SOW Defect Types | SRS Defect Types | Estimation Defect Types | PP Defect Types | CMP Defect Types | Risk Register Defect Types | MPP Defect Types | HLD Defect Types | LLD Defect Types | SDS Defect Types | SED Defect Types | Code Defect Types | Test Plan Defect Types | Test Design Defect Types | Manuals Defect Types | Others Defect Types | Sprint Demo Defect Type | UTDR Defect Types | ITDR Defect Types | STDR Defect Types | PBL Defect Type | SBL Defect Type | Hardware Requirements Specification Defect Types | System Requirements Specification Defect Types | Hardware Design Specification Defect Types | Hardware Software Interface Specification Defect Types | Contract Defect Types | HARA Defect Types | Safety Concept Defect Types | System Architectural Design Specification Defect Types | System Integration Test Report Defect Types | System Qualification Test Report Defect Types | Hardware Integration Test Report Defect Types
Guidelines to be followed for creating a test cases for all the work products in the project term - |  | SOW | Incorrect | Incorrect | Omission | Omission | Omission | Omission | Omission | Parameter Passing/Interface | Parameter Passing/Interface | Parameter Passing/Interface | Parameter Passing/Interface | Function/Algorithm/Checking | Omission | Function | Omission | Omission | Omission | Function | Function | Function | Omission | Omission | Incorrect | Incorrect | Parameter Passing/Interface | Incorrect | Incorrect | Omission | Omission | Parameter Passing/Interface | Function | Function | Function
|  | SRS | Omission | Omission | Clarity | Clarity | Clarity | Clarity | Clarity | Memory Mapping/Organisation | Memory Mapping/Organisation | Memory Mapping/Organisation | Memory Mapping/Organisation | Interface/Parameter Passing | Clarity | Coverage | Clarity | Clarity | Clarity | Coverage | Coverage | Coverage | Clarity | Clarity | Omission | Omission | Memory Mapping/Organisation | Omission | Omission | Clarity | Clarity | Memory Mapping/Organisation | Coverage | Coverage | Coverage
|  | Estimation | Incomplete | Incomplete | Incorrect | Incorrect | Incorrect | Incorrect | Incorrect | OS/Driver Dependencies | OS/Driver Dependencies | OS/Driver Dependencies | OS/Driver Dependencies | Exception/Error Handling | Incorrect | Error Handling/Recovery | Incorrect | Incorrect | Incorrect | Error Handling/Recovery | Error Handling/Recovery | Error Handling/Recovery | Incorrect | Incorrect | Incomplete | Incomplete | OS/Driver Dependencies | Incomplete | Incomplete | Incorrect | Incorrect | OS/Driver Dependencies | Error Handling/Recovery | Error Handling/Recovery | Error Handling/Recovery
1) | All comments to be logged in the review record sheet by selecting the appropriate document under review from the dropdown | PP | Lack of clarity | Lack of clarity | Redundant | Redundant | Redundant | Redundant | Redundant | Error handling | Error handling | Error handling | Error handling | System | Redundant | Performance | Redundant | Redundant | Redundant | Performance | Performance | Performance | Redundant | Redundant | Lack of clarity | Lack of clarity | Error handling | Lack of clarity | Lack of clarity | Redundant | Redundant | Error handling | Performance | Performance | Performance
2) | The convention to be followed for 'Test ID' is 'X_Y_Z_A'. Here: X - Module name Y - test type Z - Tester ID (2 alphabetical letter ) A- Test case number 'Y' i.e., from 01 to 999 Please follow the same convention for the Test ID for all the sheets. | CMP | Inconsistent | Inconsistent | Compliance | Compliance | Compliance | Compliance | Compliance | Performance/Real Time Issues | Performance/Real Time Issues | Performance/Real Time Issues | Performance/Real Time Issues | Data/Syntax | Compliance | Compliance/Conformance | Compliance | Compliance | Compliance | Compliance/Conformance | Compliance/Conformance | Compliance/Conformance | Compliance | Compliance | Inconsistent | Inconsistent | Performance/Real Time Issues | Inconsistent | Inconsistent | Compliance | Compliance | Performance/Real Time Issues | Compliance/Conformance | Compliance/Conformance | Compliance/Conformance
3) | All test cases and their results to be logged in the respective testing sheet | RiskRegister | Redundant | Redundant | Documentation | Documentation | Documentation | Documentation | Documentation | Logic/Function/Algorithm | Logic/Function/Algorithm | Logic/Function/Algorithm | Logic/Function/Algorithm | Performance | Documentation | operational | Documentation | Documentation | Documentation | operational | operational | operational | Documentation | Documentation | Redundant | Redundant | Logic/Function/Algorithm | Redundant | Redundant | Documentation | Documentation | Logic/Function/Algorithm | operational | operational | operational
4) | The 'Defect-log' sheet contain the summary of status of all the defects and failed test cases of the software development cycle | HLD | Unverifiable | Unverifiable | Others | Others | Others | Others | Others | Standards | Standards | Standards | Standards | Coding Guidelines | Others | Stress/Volume | Others | Others | Others | Stress/Volume | Stress/Volume | Stress/Volume | Others | Others | Unverifiable | Unverifiable | Standards | Unverifiable | Unverifiable | Others | Others | Standards | Stress/Volume | Stress/Volume | Stress/Volume
|  | SED | [7 empty] | Documentation | Documentation | Documentation | Documentation |  |  | Documentation |  |  |  | Documentation | Documentation | Documentation |  |  |  |  | Documentation |  |  |  |  | Documentation | Documentation | Documentation | Documentation
Meaning |  | Coding
Defect | 1. A defect or bug is flaw in any software system that can cause the software system to fail to perform what it’s actually supposed to perform. A defect gets introduced in software work product due to the mistake made by the Author creating that software work product. 2. A defect can be something which does not meet the requirement or end user expectations Examples: a. When text = "" in generatePhoneticText(), it returns ERROR but it should be SUCCESS. b. Test Category: MidPoint,ImageMidPoint ; Test case : bb_2d_midpt_108 ;Anti-aliasing is not applied, Diameter of the circle is more than the expected. c. As per SRS acceptance criteria, it’s mentioned as Up to 3 6LN will be connected to 1 6LBR to form star Topology. But all the test cases written are considering only 2 node and 1 router only | TestPlan
Suggestion | 1. The Information related to enhancement which is put forward by the Reviewer for consideration to the Author. 2. An idea, plan or action put forward for consideration which will enhance the quality of work product is considered as a suggestion. 3. Any comment provided by the reviewer which shows wrong implementation of the requirement or deviation from the requirement (Functional and Non Functional) can’t be considered as a suggestion. Examples: a. In "Screen Design" sheet, please add a table with req id next to each screen. It would be easy to understand. b. The edit box can be bigger than what is shown. Filename can be shown on top as" keword.lst: Trigger word model generation v 0.1.0" c. I think that the inline function that calculates undistortion parameters should be created. | Manuals
Clarification | 1. Any comment which expects an explanation or more details that makes something clear or easier to understand can be considered as a clarification. 2. Clarifications are usually raised when the reviewer is not completely aware of the document to be reviewed or the reviewer is not clear about some of the content written in the work product or not clear about the idea proposed. 3. Any question asked in the above context to clear the ambiguity can be considered as a clarification Examples: a. Is there any plan to use UART terminal for accepting inputs? Is it for accepting inputs during flashing? b. What is the utility code? Is it part of driver or test framework? c. Is it not needed to read qspi driver from flash? | Others
UTDR
ITDR
STDR
MPP
PBL
SBL
SprintDemo
HardwareDesignSpecification
HardwareRequirementsSpecification
HardwareSoftwareInterfaceSpecification
HardwareIntegrationTestReport
Contract
HARA
SafetyConcept
SystemArchitecturalDesignSpecification
SystemRequirementsSpecification
SystemQualificationTestReport
SystemIntegrationTestReport
Cause Of Defect
Inadequate Skill Level
Inadequate Training
Inadequate Standards/Checklists
Process Awareness
Improper communication
Lack of inputs
Environment setup
Change Request
Delayed clarification
Inadequacy of tools
Lack of documentation
Schedule Pressure
Non adherence to standards
Inadequate Self Review
Oversight/Omission/Human Error
Inadequate/Incorrect Planning
Inadequate Testing
Wrong Understanding of Requirement